## About
HCFoTC Hard Cap Fraction of Total Capacity | Oregon | 2026-08-04
Source: | Calibrated
Notes
This file defines the maximum buildable MW of a power plant type as a share of
the total installed capacity in a region.
## HCFoTC: uniform 22% (draft, 2026-08-04)
### Basis
For each state and year, we computed the annual build share:
`share(t) = capacity additions(t) ÷ operating fleet(t−1)`, from an EIA-860
generator panel (2025 Early Release, Operable + Retired sheets, 1990–2025,
nameplate MW). Storage, pumped hydro, and industrial byproduct-fuel units are
excluded; retired and canceled units that never operated are dropped. The share
series per state is in `staging/hcfotc_shares.csv`.
Two bases were computed:
- **Total additions ÷ fleet** — the basis in the original Phase 1 plan.
- **Per-source additions ÷ fleet** — the basis the model actually applies (see
"Structural correction" below). This is the like-for-like target.
¦ percentile of state maxima ¦ total basis ¦ per-source basis ¦
¦---¦---¦---¦
¦ p25 ¦ 10.6% ¦ 8.1% ¦
¦ median ¦ 12.3% ¦ 11.0% ¦
¦ p75 ¦ 16.8% ¦ 14.1% ¦
¦ p90 ¦ 21.4% ¦ 19.9% ¦
### Why one uniform value instead of 48
The cross-state spread largely does not measure state capability.
1. **It is one historical event repeated.** On the per-source basis, 9 of the 12
highest state maxima are the same event — the 2000–2003 combined-cycle gas
boom, in different years. That was a national supply-chain wave. A per-state
cap derived from it encodes which states received gas plants in 2002, not
which states can build quickly.
2. **The remaining spread is fleet size.** Rhode Island's 108% (1991) and
Maine's 35% (2000) reflect small denominators, not superior capability: one
ordinary combined-cycle plant is a large share of a small fleet. Per-state
ratios preserve that artifact rather than correcting it.
Both points follow from the project's own premise that states borrow supply
chains from the national market, which argues for a shared value.
### Why 22%
22% is approximately the p90 of the per-source distribution, rounded up. It is
the lowest round value that does not cap a state below a build rate it has
actually achieved, except in three explainable cases.
¦ candidate ¦ states capped below demonstrated history (per-source basis) ¦
¦---¦---¦
¦ 4% (shipped national value) ¦ 47 of 48 ¦
¦ 17% (p75, total basis) ¦ 8 — AZ, AR, LA, MS, NH, NM, RI, ME ¦
¦ **22%** ¦ **3 — RI and ME (pre-2002, understated denominators), MS (2003 gas boom)** ¦
Erring high is deliberate, because the error is asymmetric. A cap set too tight
distorts visibly: in the MI BAU baseline, solar PV was hard-cap-clipped in three
years and the RPS requirement overflowed into biomass and municipal solid waste,
each built to its full resource ceiling. A cap set too loose is largely inert,
because `SCGF` (per-source growth) and `MPCbS` (resource potential) are the
binding constraints in practice. The hard cap's function is to prevent
implausible single-source spikes, not to fine-tune the build trajectory.
Small states are protected structurally rather than by the cap: the build limit
is `MAX(MIN(hard cap, soft cap), Minimum Buildable Capacity)`, where the floor is
`MAX(2% of fleet, MPPC)`. One minimum-size plant remains buildable at any cap
value (Vermont: 193 MW per source at 22%, against a fleet of 878 MW).
### Structural correction to the Phase 1 method
`Annual Electricity Capacity Build Hard Cap` is an **unsubscripted scalar**
(`total fleet × HCFoTC`) consumed inside `MIN(hard cap, soft cap[source])`. It
therefore caps **each source individually**, not total annual additions.
Verified in the MI BAU run: 2041 additions totaled 6,200 MW against a 2,082 MW
hard cap, with five sources each clipped near that value.
Two implications:
- The calibration target is the per-source share, not the total share. A value
derived from total additions is more permissive than the model requires; the
difference is headroom, and should be recorded as such rather than assumed.
- No variable in the model constrains total annual additions. Aggregate build
realism cannot be delivered through `HCFoTC`; that is a Tier-2 structural item
for the model development team.
### Caveats
- The panel is **nameplate** capacity; EPS capacity is **net summer**. Growth
ratios are basis-insensitive, but any absolute-MW comparison to EPS variables
must state the basis on both sides.
- EIA-860's retired-generator coverage thins before ~2002 (220 of 4,697
retirements predate it), so early-window fleet denominators are understated and
those shares overstated. Both states clipped at 22% for pre-2002 reasons (RI,
ME) fall in this window.
- Values are draft pending staff review; the underlying figures should be
verified against EIA primary sources before use in any published work product.

## HCFoTC
Unit: dimensionless (%) | Value
total | 0.22